Supplemental Information

Table S1: Reporting template for tabulating essential SAS data acquisition, sample details, data analysis, modelling fitting and software used.

| SAXS data collection parameters |  |  |  |
| --- | --- | --- | --- |
| Instrumentation with reference for data acquisition and processing details. |  |  |  |
| wavelength |  |  |  |
| Beam geometry |  |  |  |
| q-measurement range (Å-1 or nm-1) |  |  |  |
| Absolute scaling method |  |  |  |
| Exposure time (seconds or minutes) |  |  |  |
| Sample configuration |  |  |  |
| Sample temperature (oC) |  |  |  |
| Sample details |  |  |  |
|  | Sample 1 | Sample 2 | Sample 3, etc |
| Source |  |  |  |
| Sample description: sequence (including tags) + bound ligands/modifications, etc |  |  |  |
| Extinction coefficient (A280, 0.1% solution) and method of determination |  |  |  |
| Concentration (range) mg/mL, or SEC loading concentration, volume and flow rate |  |  |  |
| Mr from sequence |  |  |  |
| Solvent details |  |  |  |
| Partial specific volume from sequence (ϑ cm3 g-1) |  |  |  |
| Particle contrast from sequence and solvent constituents (Δρ, 1010 cm-2) |  |  |  |
| Guinier analysis |  |  |  |
| I(0) (cm-1) normalised to unit concentration (w/v) |  |  |  |
| Rg (Å or nm) |  |  |  |
| qRg range (Å-1 or nm-1) |  |  |  |
| Quality-of-fit parameter (with definition) |  |  |  |
| Mr from I(0) (ratio to expected value from sequence)b |  |  |  |
| P(r) analysis |  |  |  |
| I(0) (cm-1) normalised to unit concentration (w/v) |  |  |  |
| Rg (Å or nm) |  |  |  |
| dmax (Å or nm) |  |  |  |
| q range (Å-1 or nm-1) |  |  |  |
| Quality-of-fit parameter (with definition) |  |  |  |
| Mr from I(0) (ratio to expected value from sequence) |  |  |  |
| VP (Å-3 or nm-3) and any constant adjustment to background |  |  |  |
| Model fitting results (a complete panel for each method) |  |  |  |
| q range for fitting (Å-1 or nm-1) |  |  |  |
| Symmetry assumptions |  |  |  |
| Ambiguity measure(s) with definitions |  |  |  |
| Model(s) precision |  |  |  |
| 2 range value/range |  |  |  |
| Adjustable parameters in the model fit |  |  |  |
| Volume/Mr estimate for shape models (Å-3 or nm-3) |  |  |  |
| Rg values (Å or nm) and relative phase volumes (Å-3 or nm-3) for multiple phase shape models |  |  |  |
| Domain/subunit contacts and regions of presumed flexibility for atomistic modelling |  |  |  |
| Software employed for SAXS data reduction, analysis and interpretation |  |  |  |
| SAXS data reduction to sample minus solvent, including desmearing, extrapolation, merging, etc as relevant |  |  |  |
| Intensity scaling method |  |  |  |
| Calculation of extinction coefficient from sequence |  |  |  |
| Calculation of Δρ and ϑ values from sequence |  |  |  |
| Basic analyses: Guinier, P(r), Porod volume |  |  |  |
| Shape/bead modelling |  |  |  |
| Atomic structure modelling (rigid body, ensemble) |  |  |  |
| 3D graphic model representations |  |  |  |

Table S2: CRYSOL parameters for fits to GI, BSA, and CaM showing variability in adjustable parameters Ra and Dro with and without a constant adjustment to force q-4 dependence at high q

| Protein | 2 | Rg | Ra | Dro | Constant adjustment to intensity | Average electron density |
| --- | --- | --- | --- | --- | --- | --- |
| CaM | 21.77 | 22.83 | 1.40 | 0.015 | Yes | 0.4149 |
|  | 23.95 | 23.14 | 1.40 | 0.045 | No | 0.4707 |
| BSA | 1.980 | 28.01 | 1.46 | 0.037 | Yes | 0.4633 |
|  | 4.120 | 27.86 | 1.80 | 0.033 | No | 0.4583 |
| GI | 1.003 | 32.74 | 1.42 | 0.130 | Yes | 0.4055 |
|  | 1.027 | 32.71 | 1.70 | 0.130 | No | 0.4017 |

Figure S1: A. Overlaid plots of I(0) (solid symbols) and A280 (open symbols) as a function of time/measurement frame showing the good correspondence in peak shape that facilitates concentration estimates for a set of measurement frames. B. logI(q) v logq plots showing the expected zero slope at low-q expected for monodisperse scattering particles of similar size. C. Kratky plots for GI, BSA, and CaM. The rising Kratky plot for q values > 0.25 Å-1 for BSA and CaM are indicative of flexibility in these proteins. Color code is as in main figures: GI (blue), CaM (black) and BSA (red).